# Medical Device Procurement Project - 2026

# Section 1: Qualification Requirements

★ Requirement 1: Valid NMPA Registration Certificate is mandatory. (Rejection Term)

# Section 2: Technical Specifications

| ID | Parameter Name | Tender Requirement |
| --- | --- | --- |
| 1 | Stapler Length | >= 60mm |
| 2 | ★ Firing Safety | Double-lock safety mechanism (Mandatory) |
| 3 | Rotation Angle | 360-degree rotatable handle |
| 4 | Application | Must include Pediatric Surgery in certificate |